## General information
Cell culture - counting cells
General information
Video type | Instruction - interactive
Learning objective | Learn how to subculture macrophages and plate cells for an experiment
Content | Cell culture protocol of mouse macrophages
Location(s) | flow cabinet in cell culture room
Labbuddy preparation | NA
Example videos | NA
Activation | pop-up questions
Question types | open question
Voice-over | Voice over in English
Audience | Bachelor students
Open source | Open source, protocol can be used for other cell types as well
Camera angles necessary | Overview, side-view in flow cabinet, over shoulder, close-ups of microscope, cell counter
Duration | 3 videos of ~5 minutes
Film Duration | 1 days in total for 3 videos
H5P

## Cell culture
Cell culture - counting cells
General information
Video type | Instruction - interactive
Learning objective | Learn how to subculture macrophages and plate cells for an experiment
Steps | Description activity | Type of shot | Script / Voice-over | Materials necessary | Preparation activities | Preparation time | Filming order and location | Film notes | Pop-up questions (optional)
1 | Show overview of flow cabinet, microscope and cell counter | overview room and equipment | In this video, the protocol to count and plate cells will be explained step by step. | turn on all apparatus | turn on flow cabinet/gas/install cameras | 1,5 hours (camera in flow cabinet from side and from above), done for video 1 already | -
2 | Show overview of materials inside flow cabinet (tube with cell suspension, pipets, pipet tips, medium, 96 well flat bottom plate etc.). Shot of the cell counter with counting slide and a well plate with trypan blue solution | overview shot materials in flow cabinet | This will be performed in a cell culture lab wearing a lab coat en gloves. The cells will be handled in a laminar flow cabinet to keep your cell culture sterile. Materials needed are a tube with a cell suspension, pipets, pipet tips a pipette boy, cell culture medium and a 96 well flat bottom plate. In addition, cells will be counted using a cell counter and a counting slide. | place all materials in flow cabinet | 2-3 days in advance: prepare T25 flasks RAW cells (n=5-6), collect materials needed and place in flow cabinet | 15 minutes | Fumehood
3 | Turn on cell counter. Fill a well of a 96 well plate with 10 uL trypan blue. | On lab bench: action video of cell counter, prepare a counting slide and close-up of 10 uL trypan blue being pipetted in a 96 well plate. | First, turn on the cell counter. Prepare a cell counting slide. Add 10 uL trypan blue to a 96 well platen. | lab coat, gloves, cells, cell counter and counting slide, pipette and 10 uL pipet tip, trypan blue, 96 well plate | - | 5 minutes | Workbench cell counter + Fumehood | SHOT 1: pipet tryphan blue to an eppendorf tube, next pipet cell suspension to the same eppendorf tube. heel lang shot - andere camera's uitgezet behalve Ambers camera - om pipetteren in halve maantje van slide goed te zien | Why do you use trypan blue when counting cells?
4 | Gently swirl the cell suspension and pipet 10 ul of this suspension, take the pipet out of the flow cabinet | In flow cabinet: shot from above and from side, close-up of pipet tip with cells | Gently swirl the cell supsension to evenly distribute the cells in the solution. Pipet 10 ul of this solution and take the pipet out of the flow cabinet. | pipet and 10 ul tip | - | - | Fumehood
5 | Mix the cells with 10 uL trypan blue and pipet 10 ul of this mixture in the counting slide | close up of cell mixture and of counting slide (on lab bench) | Mix the cells with the 10 uL trypan blue and pipet 10 uL of the solution in a counting slide |  | - | - | Fumehood
6 | Place the counting slide in the cell counter and press "measure" (or whatever that button says) | Shoulder image of procedure (on labb bench) | Place the counting slide in the cell counter and press "measure" |  | - | - | Workbench cell counter | SHOT 2: overview cell counter place slide in cell counter - and watch cell count and viability on display
7 | Read the outcome | Close up of outcome fo the cell counter, and clear view of which parameter needs to be administered | Read the outcome of the cell counter and record this number for the calculations. |  | - | - | Workbench cell counter | SHOT 3: shot van display met hoge cell viability om te photoshoppen ipv onze lage cell viability . Amber spreekt zelf deze film notes uit in het shot. SHOT 4: shot van display met lage cell count - Amber spreekt zelf filmnotes uit in shot | How should be dilute the cell suspension to obtain a solution of 50.000 cells/mL? MC choice, antwoorden afhankelijk van getal op cell counter bij filmen
8 | Dilute the cells according to the calculations by pipetting a certain volume of medium and cell suspension in a new 10 mL tube | In flow cabinet: shot from above and from side | Dilute the cells according to the calculations by adding cell suspension to cell culture medium | 10 mL Tube, pipets and tips | - | - | Incubator | SHOT 1 en 2
9 | Take the 96 well plate out of its package | Close up on lab bench | Place a 96 well flat bottom plate in the flow cabinet | 96- wells flat bottom plate | - | - | Fumehood
10 | Pipet 200 uL diluted cell suspension per well (15 wells in total) | In flow cabinet: shot from above and from side close-up | Add 200 uL of cell suspension to a well and fill as many wells as needed. | - | - |  | Fumehood | SHOT 5: met pipette boy piepetteer medium in buis? pipetteren medium in welletjes (15 welletjes) - daarna pipetteren van PBS in wells langs de met medium gevulde wells - NOTE1: gopro viel uit tijdens dit shot. NOTE2: versnellen van pipetteren met PBS
11 | Add PBS to the wells surrounding the wells with the cells. | In flow cabinet: shot from above and from side | To avoid unequal evaporation of medium from the wells, add PBS to wells adjacent to the ones filled with cells. | - | - |  | Workbench centrifuge | SHOT 6: herhaling shot 5: met pipette boy pipetteren van medium in buisje. met pipette medium in welletjes doen van 96 wells plaat. daarna pipetteren van PBS in wells langs de met medium gevulde wells. | Why do you add complete medium before centrifucation? A) To have a larger volume in the tube for centrifugation. B) The medium contains FBS that will inactive the trypsin. This will avoid too much cell damage from the trypsin. C) To allow better pellet formation in the tube upon centrufigation.
12 | Check the cells in the wells using the microscope | Close up of plate under the microscope, shot of TV screen showing cells in the different wells. | Check whether you see the cells floating under the microscope. |  |  |  | Workbench microscope
13 | Place the plate with cells in the 37 degree incubator for overnight incubation | close-up of plate being placed in the incubator (and shoot removal of the plate immediately for the start of video 3) | Place the 96 well plate in the 37 degree incubator for overnight incubation. |  |  |  | Incubator | geen microscope photo om te inserten niet nodig
TAKE SHOT from video 3: shot 3
Note on C6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: With the type of shot think about if you want the camera to be tracking your object or if you want the shot to be still / a photograph. Try to envision the goal of the shot.
Note on F6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Be sure to prepare enough samples, so there is room for error.
Note on G6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Try to prepare as much as you can ahead of time. If there are shots that take a long time, see if there are any preparation steps or others shots that can be done in this time frame.
Note on H6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Use this column to change the script in order of filming. If you have e.g. a lot of shots in the fume hood, it is most advantageous to take most shots in this location, before switching up the camera set-up. Therefore you will sometimes not be filming in chronological order.