## Freeze drying
Freeze drying
General information
Video type | Instruction - interactive
Learning objective | Learn how to operate the freeze drier and observe the freeze drying process
Steps | Description activity | Type of shot | Script / Voice-over | Redirect | Materials necessary | Preparation activities | Preparation time | Filming order and location | Film notes | Pop-up questions (optional)
1 | introduction | Overview of Freeze dryer | in this video, you will learn how to operate a freeze dryer. |  | Freeze dryer | Making sure room with freeze dryer is empty | 5 min | Bench with freeze dryer
2 | turning on the freeze dryer | Close-up | First, turn on the freeze dryer at least an hour prior to the start of the freeze drying process. The freeze dryer needs to cool down to its working temperature of -47 degrees C. For the procedure, you will need an eppendorf cup with a sample, tweezers and a container with liquid nitrogen. |  | Freeze dryer | n.v.t. | n.v.t. | Bench with freeze dryer
2 | overview of materials | Overview shot materials | For the procedure you will need an eppendorf tube with a sample, tweezers and a container with liquid nitrogen. |  | eppendorf tube with a sample, tweezers and a container with liquid nitrogen. | Collect materials | 5 min | Workbench
2.1 Question: Do we have all the materials needed to continue freeze drying?
Answer 1: Yes > 2.2
2.2 | Proceed without making any holes in the eppendorf tube |  |  | Go to step 7 |  | n.v.t. | n.v.t.
Answer 2: No > Proceed with 2.3
2.3 With which material shall we continue?
Answer 1: Scissors
3.1 | Punch holes in eppendorf with scissors | Close-up | First, use scissors to pinch a large hole in the cap of the eppendorf tube with the sample. Then, dip the sample in liquid nitrogen using tweezers. | Go to step 8 | Scissors and eppendorf tube | n.v.t. | n.v.t. | Workbench
Answer 2: Needle |  |  |  | Go to step 3.2
3.2 | Punch holes in eppendorf with needle | Close-up | First use a needle to punch small holes in the cap of the eppendorf tube with the sample. Then dip the sample in liquid nitrogen using tweezers. | Go to step 4 | Neelde and eppendorf tube | n.v.t. | n.v.t. | Workbench
4 | Dip sample in liquid nitrogen | Close-up | Prior to the freeze drying process, the sample needs to be snap frozen to avoid the formation of ice crystals that can damage the sample. Dipping in liquid nitrogen causes the sample to freeze very quickly. CLose the container with liquid nitrogen when you are done. |  | Liquid nitrogen, tweezers | n.v.t. | n.v.t. | Workbench
5 | snap freezing | Close-up | Place the sample in the freeze dryer. Due to the vacuum, the pressure in the chamber will strongly decrease which causes the water in the sample to sublimate at room temperature. The water vapors are condensated against the cooling elements of the freeze dryer and in this manner almost all the water is removed from the sample. |  | Freeze dryer, sample | n.v.t. | n.v.t. | Bench with freeze dryer |  | After "place the sample in the freeze dryer" > Freeze video and ask if we can continue. This is false, because we haven't closed all faucets of the freeze dryer.
6 | Showing inside of eppendorf tube | Close-up | When the process is finished, a solid powder will have formed. |  | Sample | Have a freeze dried sample at the ready or a powder that resembles the freeze dried powder. | 15 uur for freeze drying sample | Workbench
7 | Showing inside of eppendorf tube | Close-up | Due to the lack of holes, the sample has not been properly freeze-dried and is still liquid. | Go to step 2.1 | Sample | Filling eppendorf with water |  | Workbench
8 | Showing inside of eppendorf tube | Close-up | Due to the large hole, the complete sample was aspirated. | Go to step 2.1 | Sample | Use empty eppendorf |  | Workbench
Note on C6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: With the type of shot think about if you want the camera to be tracking your object or if you want the shot to be still / a photograph. Try to envision the goal of the shot.
Note on G6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Be sure to prepare enough samples, so there is room for error.
Note on H6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Try to prepare as much as you can ahead of time. If there are shots that take a long time, see if there are any preparation steps or others shots that can be done in this time frame.
Note on I6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Use this column to change the script in order of filming. If you have e.g. a lot of shots in the fume hood, it is most advantageous to take most shots in this location, before switching up the camera set-up. Therefore you will sometimes not be filming in chronological order.