## Rotavap
Rotavap
General information
Video type | Instruction - non-interactive
Learning objective | 1. switching on the rotavap 2. making a lipid film 3. rehydrating lipid film
Steps | Description activity | Type of shot | Script / Voice-over | Materials necessary | Preparation activities | Preparation time | Filming order and location | Film notes | Pop-up questions (optional)
1 | overview photo of apparatus including pump, photos of individual buttons, waterbath level etc. | Animation | In this video, you will learn how to operate a rotating film evaporator or rotavap for short | n.v.t. | n.v.t. | n.v.t. | Workbench | shot 1 overview, shot 2 overview, shot 3 overview, shot 4 overview, shot 5 overview, shot 6 overview, shot 7 overview, shot 8 overview | n.v.t.
2 | Film of the procedure to switch it (shot from the front at apparatus height). | Close-up | Close the pressure valve. To turn on the rotavap, flip 3 switches. Next, open the watertap to start the waterflow in the cooling system. Set the temperature of the waterbath by pressing the waterbath button, adjust the temperature with the rotary knob. Finally, press the 'on' button on the control panel to turn on the waterbath. | Rotavap, round bottom flask, dissolved lipids | Collect all materials | 10 min | Workbench | shot 9: aanzetten rotavap (weg, pomp stond nog aan), shot 10 aanzetten rotavap (ok), shot 11: aanzetten kraan (ok), shot 12: aanzetten kraan met close-up rotor, shot 13: close-up instellingen rotavap, shot 14: overview met rood lampje | n.v.t.
3 | Photo of the roundbottom flask, pump, then film procedure (shot at apparaturs height, close up to clearly show fastening procedure). Also make a few film shots for the question below when a certain part of the procedure is not well executed (no pressure, RBF not in waterbath etc.) | Camera 1 close-up | Start preparing the lipid film. Attach the round bottom flask with the dissolved lipids to the rotavap. Make sure you hear a slight click. This indicates that the roundbottom flask is secured tightly. Start the rotation and lower the round bottom flask by pressing and holding the down button, till the round bottom flask touches the water. To set the pressure needed to evaporate the solvent, press the SET button and adjust the pressure using the up and down buttons. Press SET again till the atmospheric pressure shows on the display. End with the manual button on the vacuum pump controller. | Rotavap, round bottom flask, dissolved lipids | n.v.t. | n.v.t. | Workbench | shot 15: kolf aan rotavap, shot 16: instellingen rotatie, shot 17: draaien en kolf laten zakken (focus op scherm) film stoppen na omlaag), shot 18: instellen pomp (weg, draai hand aan het eind), shot 19: instellen pomp, shot 20: pomp aan, tot 160 (dan shot stoppen). Shot 21: kolf laten zakken (focus op kolf) | n.v.t.
4 | Close-up of rotating flask, close-up of colling system and collection reservor | Camera 1 close-up | The reduced pressure in the roundbottom flask decreases the boiling point of the solvent. The warm water adds the heat needed to evaporate the solvent. The vapors are sucked into the condensor where cold water flows cause the hot vapors to cool down, condensate, and flow down to the collection reservoir. | Rotavap, round bottom flask, dissolved lipids | n.v.t. | n.v.t. | Workbench | shot 22: afvalkolf close-up, shot 23: kolf omhoog om te checken of het al droog is (weg: met de hand afgeveegd), shot 24: idem, nu met tissue (helemaal afspelen, omhoog én weer omlaag) | n.v.t.
5 | film of procedure to stop the evaporation, close-up (film or photo) of unfinished sample and of finished sample. | Camera 1 close-up | To check if the lipid film is dry, lift the roundbottom flask from the bath by pressing the up button. Stop the rotation and leave the vacuum on. Dry the outside of the roundbottom flask with a paper towel and check if there is any liquid left in the flask. If this is the case - lower the flask again and continue rotary evaporation. When there is no liquid left, turn off the vacuum pump and remove the roundbottom flask. A yellow lipid film is shown for clear visualization. | Rotavap, round bottom flask, dissolved lipids | n.v.t. | n.v.t. | Workbench | shot 25: kolf omhoog, droog maken en rotatie stoppen, shot 26: uitzetten vacuum naar 1000, shot 27: kolf loskoppelen, shot 28: kolf loskoppelen en in kurkje met stop, shot 29: dop op RBF voor bij aanhangen | n.v.t.
6 | Film the procedure in close-up to clearly show the lipid film and the cloudy solution. | Camera 1 close-up | To make liposomes, the lipid film needs to be hydrated. To do so, you need a pipette, your sample, glass beads, a buffer and some paper towels. Add buffer to the lipid film and a few glass beads. The glass beads will act as scrapers and increase the encapsulation effiency by increasing the amount of surface area for lipid-protein interaction. Attach the roundbottom flask to the rotavap again and decrease the rotation speed. Continue rotating at room pressure untill a cloudy milk-like solution has formed. | Rotavap, round bottom flask, dissolved lipids, pipette, sample, buffer paper towels, glass beads. | Collect materials | 5 min | Workbench | shot 32: buffer en parels toevoegen aan RBK, aan rotavap, shot 33: close-up glasparels, shot 34: instellingen van rotavap (weg, niet goed), shot 35: instellingen van rotavap (moet in montage vóór 33). Shot 36: uitzetten rotavap en kolf eraf. Shot 37: kolf eraf en afdrogen (opnieuw van 36). Shot 38: close-up van oplossing (duurt lang voordat de camera scherp stelt). | n.v.t.
Note on C6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: With the type of shot think about if you want the camera to be tracking your object or if you want the shot to be still / a photograph. Try to envision the goal of the shot.
Note on F6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Be sure to prepare enough samples, so there is room for error.
Note on G6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Try to prepare as much as you can ahead of time. If there are shots that take a long time, see if there are any preparation steps or others shots that can be done in this time frame.
Note on H6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Use this column to change the script in order of filming. If you have e.g. a lot of shots in the fume hood, it is most advantageous to take most shots in this location, before switching up the camera set-up. Therefore you will sometimes not be filming in chronological order.