## Vivaspin
Vivaspin
General information
Video type | Instruction - interactive
Learning objective | Learning about the experimental procedure of a vivaspin and common mistakes made
Steps | Description activity | Type of shot | Script / Voice-over | Materials necessary | Preparation activities | Preparation time | Filming order and location | Film notes | Pop-up questions (optional)
1 | Show cartoon/photo of Vivaspin column en a video shot of the disassembly of the column | Animation | Vivaspin columns are disposable ultra filtration devices for the concentration and purifaction of biological samples. The vivaspin device consists of a column with the membrane and tube to collect the filtrate. In this video, the vivaspin column is used to remove free protein from the protein that has been encapsulated in liposome. | n.v.t. | n.v.t. | n.v.t. | n.v.t. | Afbeelding epje of foto. Even kijken op filmdag of het goed zichtbaar is. Misschien beiden? Vergelijking in het echt en als afbeelding | n.v.t.
2 | Show materials (vivaspin column, table centrifuge, counterweight, pipette, sample) on bench, then dissembling the vivaspin parts and showing the parts to the camera | Overview | For this procedure the required materials are: a vivaspin column, an eppendorf centrifuge, a counterweight, a pipette with tip, mili-q and a sample that needs purification | a vivaspin column, an eppendorf centrifuge, a counterweight, a pipette with tip, mili-q and a sample that needs purification | Collect materials | 15 min | Workbench | fotos van materialen en fotos van vivaspin kolom geheel en in delen. | n.v.t.
3 | Filling the vivaspin column with MQ, after which this is placed in the centrifuge and ran, showing time AND speed in a close up (with a counterweight tube/vivaspin in the centrifuge already). Jump to the finishing of the centrifuge run and opening the lid of the centrifuge. Getting the vivaspin out and showing it to the camera, all fluid has passed to the tube. | Camera 1 close-up + overview GoPro | Before use, the vivaspin column needs to be pre-rinsed with Milli-Q, because the membrane contains certain substances that may interfere with the measurements. To pre-rinse, add Milli-Q in the column and spin down in a centifuge. After pre-rinsing, make sure the column does not dry out. | " | n.v.t. | n.v.t. | Workbench | nieuwe overzichts fotos van materialen, nu meer naar links | n.v.t.
4 | Filling the vivaspin with a sample from a tube. After this, the vivaspin is put into the centrifuge with counterweight, closed and run, again showing speed AND time. Upon time 0: Question for scenarios 1, 2 and 3 | Camera 1 close-up + overview GoPro | Immediately after pre-rinsing the column, the vivaspin can be used to separate unloaded protein from the liposome formulation. Fill the vivaspin with the sample and place it in the centrifuge. | " | n.v.t. | n.v.t. | Workbench | > Animatie toevoegen centrifuge tussen 4-5 | Question: a vivaspin with a MWCO of 300.000 D is used. What does this mean? 1. the volume of fluid that can be filtered at once. 2. the maximum size of the nanoparticles that can be loaded into this vivaspin column. 3. the smallest size of molecules that does not pass through the membrane.
5 | Question with interactive options | Camera 1 close-up + overview GoPro | During centrifugion the column should be checked regularly, as the column is not supposed to run dry. | " | n.v.t. | n.v.t. | Workbench | Epje optie 2 begin status. tussendoor vragen "do you want to check?" + tijd. Bij optie 3 > de onderzoeker gaat lunchen en loopt heel ver weg. Western style > vignetten? Denk aan minion lunchbox en taxi. Optie 1 > op horloge kijken dat het te lang duurt | When is the vivaspin procedure successful: option 1, 2 or 3?
6 | OPTION 1 between 1-50 min : one column is taken out of the centrifuge and shown to the camera. The content is how it should be: certain seethrough amount is in the filtration tube and there is a certain cloudy amount remaining in the column. | Camera 1 close-up | When the vivaspin is taken out, the amount of liquid that has passed trough the membrane is checked. When approximatly 100 uL is left on the column, the centrifugation can be stopped. | Vivaspin column that has not yet passed through entirely | Prepare a column that is not done | 20 min | Workbench | Hier een duidelijk still maken waarbij de vloeistof op de kolom goed zichtbaar is. | Correct option
7 | OPTION 2 between 50-80 min: one column is taken out of the centrifuge and shown to the camera. The content is not how it should be: all fluid is still in the column and there is no filtrate. -QUESTION- Place it back in the centrifuge showing increased and time. Then show shot of correct sample taken out of the centrifuge. |  | When the vivaspin is taken out, the amount of liquid that has passed trough the membrane is checked. All of the sample is still in the column and has not passed through the membrane. Place it back in the centrifug, now for a longer time and at a faster rate. Check your column regularly until the result is satisfactory. | Vivaspin column that is ready | Prepare a column that is done, the same column as the previous step can be used. | 40 min | Workbench | Hier een duidelijk still maken waarbij de vloeistof op de kolom goed zichtbaar is. | Question: what could have caused the solution to stay on the membrane? Possible answers: 1. the wrong sample is loaded in the column. 2. the ovalbumin has aggregated. 3. centrifuge settings were too slow or too short centrifugion.
8 | OPTION 3 between 80-never: one column is taken out of the centrifuge and shown to the camera. The content is not how it should be: all fluid has passed the membrane and the column has run dry. -QUESTION- Add sample to the column again and show centrifuge speed and time. Then show image of correct sample taken out of the centrifuge. |  | When the vivaspin is taken out, the amount of liquid that has passed trough the membrane is checked. All fluid has passed the membrane and the column ran dry. Load the sample again on the column and restart the centrifuge procedure, now for a shorter time and at lower speed. Check your column regularly until the result is satisfactory. | Vivaspin column that has passed through entirely | Prepare a column that has been centrifuged for too long, the same column as the previous step can be used. | 60+ min | Workbench | Hier een duidelijk still maken waarbij de vloeistof onderin goed zichtbaar is. | Question: what could have caused the solution to fully pass the column? Possible answers: 1. too fast and too long centrifugation. 2. wrong sample is loaded onto the vivaspin column. 3. the liposomes are no longer intact
9 | Take out sample out of the vivaspin and pipet into an epje. |  | Take your sample out of the vivaspin and pipette it into an eppendorf tube. |  |  |  | Workbench | Fotos van de verschillende opties in de kolommen. | n.v.t.
Note on C6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: With the type of shot think about if you want the camera to be tracking your object or if you want the shot to be still / a photograph. Try to envision the goal of the shot.
Note on F6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Be sure to prepare enough samples, so there is room for error.
Note on G6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Try to prepare as much as you can ahead of time. If there are shots that take a long time, see if there are any preparation steps or others shots that can be done in this time frame.
Note on H6: [Opmerkingenthread] U kunt deze opmerkingenthread lezen in uw versie van Excel. Eventuele wijzigingen aan de thread gaan echter verloren als het bestand wordt geopend in een nieuwere versie van Excel. Meer informatie: https://go.microsoft.com/fwlink/?linkid=870924 Opmerking: Use this column to change the script in order of filming. If you have e.g. a lot of shots in the fume hood, it is most advantageous to take most shots in this location, before switching up the camera set-up. Therefore you will sometimes not be filming in chronological order.
Note on J13: PC: Tahmina, kun jij feedback bij de antwoorden van deze beide vragen maken?